## Sheet1
Num | Num Description (NL) | Num Description (EN) | Num Brick
001 | Ketel 1 | Boiler 1 | Boiler
002 | Ketel 2 | Boiler 2 | Boiler
011 | Transportsysteem ketel 1 | Transport system boiler 1 | Hot_Water_Loop
012 | Transportsysteem ketel 2 | Transport system boiler 2 | Hot_Water_Loop
021 | Warm water groep 1 | Hot water group 1 | Hot_Water_System
022 | Warm water groep 2 | Hot water group 2 | Hot_Water_System
101 | Koelmachine 1 | Chiller 1 | Chiller
102 | Koelmachine 2 | Chiller 2 | Chiller
111 | Transportsysteem GKW 1 | Chilled Water Transport system GKW 1 | Chilled_Water_Loop
112 | Transportsysteem GKW 2 | Chilled Water Transport system GKW 2 | Chilled_Water_Loop
121 | Gekoeld water groep 1 | Chilled water group 1 | Chilled_Water_System
122 | Gekoeld water groep 2 | Chilled water group 2 | Chilled_Water_System
161 | Transportsysteem KW 1 | Cooling Water Transport system KW 1 | Chilled_Water_Loop
162 | Transportsysteem KW 2 | Cooling Water Transport system KW 2 | Chilled_Water_Loop
181 | Koeltoren 1 | Cooling tower 1 | Cooling_Tower
182 | Koeltoren 2 | Cooling tower 2 | Cooling_Tower
201 | LBK 1 | AHU 1 | AHU
202 | LBK 2 | AHU 2 | AHU
301 | Afzuig liftmachinekamer | Exhaust fan for machine room of elevator | Exhaust_Fan
302 | Afzuig toiletten | Exhaust fan for toilets | Exhaust_Fan
401 | Warmebron | Heat source | Energy_Storage
402 | Koudebron | Cold source | Energy_Storage
451 | Stoom | Steam | Steam_System
452 | Stoom | Steam | Steam_System
601 | Verlichting verdieping 1 | Lighting floor 1 | Lighting_Equipment
602 | Verlichting verdieping 2 | Lighting Floor 1 | Lighting_Equipment
651 | Zonwering verdieping 1 | Solar blinds Floor 1 | Shading_System
652 | Zonwering verdieping 2 | Solar blinds Floor 2 | Shading_System
701 | Naregelingen volgnr 1 | Room control (lighting co2 etc) sequence no. 1
710 | Naregelingen verdieping 10 | Room control (lighting co2 etc) sequence no. 10
801 | Schakelkast RK-01 | Electricity Control cabinet RK-01 | Breaker_Panel
802 | Schakelkast RK-02 | Electricity Control cabinet RK-02 | Breaker_Panel
901 | Wateroverlast | Flooding water spill | Water_Loss_Alarm
902 | Vuilwaterputten | Waste water wells Grey Water Tank
903 | Hydrofoor installatie | Hydrophore installation (Pressurized water installation )
904 | Perslucht installatie | Compressed air installation | Compressor
905 | SER/MER meldingen | MER = Main Equipment Room, SER = Satellite Equipment Room | Server_Room
999 | Weerstation | Weather station | Weather_Station
501 |  | Sprinker | Fire_Safety_System
Note on D10: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Transportsysteem Gek. water
Note on D14: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Transportsysteem Koelwater Reply: What is different from 111, 112?
Note on B26: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Lighting supposed to be 501-599
Note on D35: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Grease trap