## Sheet1
| Num | Num Class Brick | Num Description (NL) | Num Description (EN) | Num Brick
0 | 001 | Boiler | Ketel 1 | Boiler 1 | Boiler
1 | 021 | Hot_Water_System | Warm water groep 1 | Hot water group 1 | Hot_Water_System
2 | 022 | Hot_Water_System | Warm water groep 2 | Hot water group 2 | Hot_Water_System
3 | 041 | Hot_Water_System
4 | 121 | Chilled_Water_System | Gekoeld water groep 1 | Chilled water group 1 | Chilled_Water_System
5 | 122 | Chilled_Water_System | Gekoeld water groep 2 | Chilled water group 2 | Chilled_Water_System
6 | 123 | Chilled_Water_System
7 | 124 | Chilled_Water_System
8 | 201 | AHU | LBK 1 | AHU 1 | AHU
9 | 202 | AHU | LBK 2 | AHU 2 | AHU
10 | 203 | AHU
11 | 20x
12 | 301 | Exhaust_Fan | Afzuig liftmachinekamer | Exhaust fan for machine room of elevator | Exhaust_Fan
13 | 302 | Exhaust_Fan | Afzuig toiletten | Exhaust fan for toilets | Exhaust_Fan
14 | 402 | Energy_Storage | Koudebron | Cold source | Energy_Storage
15 | 403 | Energy_Storage
16 | 404 | Energy_Storage
17 | 410 | Energy_Storage
18 | 411 | Energy_Storage
19 | 412 | Energy_Storage
20 | 413 | Energy_Storage
21 | 501 | Sprinkler |  | Sprinker | Fire_Safety_System
22 | 711 | Equipment
23 | 712 | Equipment
24 | 713 | Equipment
25 | 714 | Equipment
26 | 715 | Equipment
27 | 716 | Equipment
28 | 717 | Equipment
29 | 718 | Equipment
30 | 719 | Equipment
31 | 720 | Equipment
32 | 721 | Equipment
33 | 722 | Equipment
34 | 723 | Equipment
35 | 724 | Equipment
36 | 725 | Equipment
37 | 726 | Equipment
38 | 727 | Equipment
39 | 728 | Equipment
40 | 729 | Equipment
41 | 730 | Equipment
42 | 731 | Equipment
43 | 801 | Breaker_Panel | Schakelkast RK-01 | Electricity Control cabinet RK-01 | Breaker_Panel
44 | 802 | Breaker_Panel | Schakelkast RK-02 | Electricity Control cabinet RK-02 | Breaker_Panel
45 | 803 | Breaker_Panel
46 | 901 | Water_Loss_Alarm | Wateroverlast | Flooding water spill | Water_Loss_Alarm
47 | 902
48 | 903
49 | 905 | Server_Room | SER/MER meldingen | MER = Main Equipment Room, SER = Satellite Equipment Room | Server_Room
50 | 917
51 | 918